## Slide 1
G. Chubarian
International Workshop on Nuclear Dynamics and Thermodynamics
Texas A&M University, College Station, Texas August 19-22, 2013
Rare Isotope Beam FACILITY at the TAMU Cyclotron Institute
(Project T-REX)

## Slide 3: Project T-REX
Re-activate K150 (88”) Cyclotron
  Use K150 stand-alone and as driver for
  secondary rare-isotope beams.
Build ion guides and produce RIBs
  Light Ion Guide (JYFL, KU Leuven )
  Heavy Ion Guide (ANL Gas Catcher)
Recharge and Inject RIBs into K500 Cyclotron and reaccelerate them
Prepare low energy RIB beams

## Slide 4
K150 (88”) Cyclotron
Original:
    Main Magnet
    Resonators
New:
    Vacuum System low 10-7 Tor
    RF System
    14.5 GHz ECR Source
    H- Source
    Injection Line
    Beam Extraction
    (Electrostatic and Striping)
    Cooling System
    All Power Supplies
    Control System
    Safety System

## Slide 5
H- (D-) Ion Source

## Slide 6
Examples of K150 beam intensities and energies
assuming an ECR2 type source and 25% transmission.
The maximum intensity will be lower at the maximum
energy as the transmission typically drops to around 10%
for high K.
Isotope | Max. Energy MeV/A | Max. Intensity pμA |  | Isotope | Max. Energy MeV/A | Max. Intensity pμA
p | 55.0 | 14(27) |  | 20Ne | 26.0 | 3
d | 32.5 | 9(21) |  | 22Ne | 27.0 | 0.5
3He | 45.0 | 11 |  | 34S | 19.0 | 0.7
4He | 32.5 | 5(10) |  | 40Ar | 16.0 | 0.8(1.4)
6Li | 32.5 | 7 |  | 40Ca | 16.0 | 0.8(1.5)
7Li | 24.0 | 7 |  | 59Co | 11.0 | 0.9
10B | 32.5 | 3 |  | 78Kr | 9.5 | 0.6
11B | 27.0 | 3 |  | 86Kr | 7.8 | 0.6
16O | 32.5 | 1.8(2.3) |  | 129Xe | 5.3 | 0.5

## Slide 7
RIB Production Area

## Slide 8: Light Ion Guide
Preparation of single charged radioactive species – atoms and molecules in A(p,xn)B and p+238U fission reactions
Transport them in to the Charge-Breeder ECR or low energy beam line
Injection into the K500 Cyclotron
RIB post-acceleration and delivery

## Slide 9: The Light Ion Guide

## Slide 10: The Light Ion Guide
RF-only hexapole
Target Chamber
He ~ 300 – 500 mbar
~ 1mbar
~10-2mbar
~10-6mbar
To CB-ECR
Glaser lens
In collaboration with J. Arje - Jyvaskyla
proton beam

## Slide 11
Pumping Requirements and He Consumption Rate
Hole diameter is 1.5 mm
Pumping speed 4303 m3 / h
He consumption 0.6 bottle / h
Hole diameter is 2.5 mm
Pumping speed 11952 m3 / h
He consumption 1.8 bottle / h
Hole diameter is 3.5 mm
Pumping speed 23426 m3 / h
He consumption 3.5 bottle / h
If He pressure in gas cell is 640 mbar and
If hole diameter is 2.5 mm and
Pumping speed 3735 m3 / h
He consumption 0.6 bottle / h
He pressure is 200 mbar
Pumping speed 11205 m3 / h
He consumption 1.7 bottle / h
He pressure is 600 mbar
Pumping speed 18675 m3 / h
He consumption 2.8 bottle / h
He pressure is 1000 mbar

## Slide 12: Light Ion Guide Pumping Station
6000 m3/h
2400 m3/h
1200 m3/h

## Slide 13
Estimated beam intensities for reaccelerated
products of light ion induced reactions
A(p,1n)B | Max. Energy | Intensity
Product | MeV/A | part/sec
27Si | 57 | 4  104
50Mn | 45 | 1  105
54Co | 45 | 4  104
64Ga | 45 | 2  105
92Tc | 35 | 2  105
106In | 28 | 4  105
108In | 28 | 2  105
110In | 26 | 4  105

## Slide 14
Fission Fragment Yields

## Slide 15: LISOL – Laser Ion Source Yu. Kudryavtsev, NIMB 204, 336 (2004), M. Facina, NIMB, 226. 401 (2004)
Fission fragments will slow down and neutralize in 500 mbar Ar buffer gas cell
Z selection is possible by resonant laser ionization
Extraction by gas flow

## Slide 16: Heavy Ion Guide
Preparation of radioactive species in DIC and fragmentation reaction
Separation of reaction products
Collection and slowdown of reaction products
Transportation them into the Charge-Breeder ECR or Low Energy Beam Line
Injection into the K500 Cyclotron
RIB post-acceleration and delivery

## Slide 17
Heavy Ion Guide Beam Line

## Slide 18: BigSol 7 Tesla Large-Bore Superconducting Solenoid

## Slide 19: Heavy Ion Guide and Beam Delivery Layout

## Slide 20
Heavy Ion Guide Beam Line (Collection and Distribution)

## Slide 21: Working Principle of the Gas Catcher G. Savard, Journal of Physics: Conference Series 312 (2011) 052004

## Slide 22: ANL Gas Catcher

## Slide 23: ANL Gas Catcher

## Slide 24: RF Cone

## Slide 25: RF Body

## Slide 26: Gas Catcher
OVER 20,000 PARTS!

## Slide 27: Extraction RFQ
Radial cooling with drag voltage ( 30 cm long)

## Slide 28: Micro RFQ

## Slide 29: Multi RFQ

## Slide 30: Multi RFQ Beam Branching

## Slide 31
Multi RFQ
Central 114 degree bending section

## Slide 32
Multi RFQ
Straight central section

## Slide 33: Example of RIB 38S from 40Ar (15MeV/A) + 64Ni 46Ar from 48Ca (15MeV/A) + 64Ni
Target 64Ni
(20mg/cm2)
Axial Blocker
2o-6o
BIGSOL
Energy Degrader
Al 40 mg/cm2
38S, 46Ar Energy
~2.0 MeV/A
(0.0-5.0 MeV/A)
ANL Gas-Catcher
Range in the Gas-Cell (SRIM-2003)
38S, 46Ar @ 2.0 MeV/A : 35.0, 40.0 cm
@ 5.0 MeV/A : 100.0 cm
Diameter 25 cm
100 cm Length
~ 25 mbar He
K150 Beam:
40Ar, 48Ca (15MeV/A)

## Slide 34: Charge Breeder ECR – First Results
14.5 GHz, closed hexapole ECRIS with multi-frequency capability

## Slide 35
Q/M
Charge Breeder ECR – First Results
Cesium Ions
Breeding efficiency for selected charge ~ 2 – 12 %
Injection and acceleration efficiency ~ 10%

## Slide 36: Rudimentary Comparisons
TAMU
ANL

## Slide 37: Beam Optics
All beam optics (magnetic and electrostatic)
was build in house:
Dipole magnets – 6
Quadrupoles – 20
Magnetic X-Y Steerers – 22
Solenoids – 6
Glaser Lenses – 2
Einzel Lenses – 7
Electrostatic X-Y Steerers – 4

## Slide 38: Low-energy beam line

## Slide 39
TAMU TRAP
Fundamental Symmetry Tests Using Trapped Atoms and Ions
D. Melconian, M. Mehlman, P.D. Shidling,
R.S. Behling, B. Fenker

## Slide 40
TAMU TRAP

## Slide 41: Beta-Neutrino Correlations for search of possible scalar currents in T = 2 superallowed β-delayed proton decays
Measurements of correlation parameters place constraints on physics beyond SM
  aβν limits presence of scalar currents in β-decay (not currently included in the SM)
aβν related to distribution of angles between β, ν in β-decay:
T=2, 0+→0+ β-delayed proton decays
  Can extract aβν from proton energy distribution
  32Ar already studied
  Other nuclides in series
β
Daughter
ν
Daughter
β
ν
θβν
-versus-
Notes:   Top can be used to test the SM
  Why 32Ar: Well, Dan has already looked closely at this decay to measure the (proton branching ratio-> ft value) (corrected ft value can be used to test unitarity of CKM etc.)
  Also, Adelberger has already done this measurement, but we think our technique will be much better
  Beta and Neutrino go in same direction if abnu =1 and in the limit that it is completely relativistic. Otherwise still a distribution
  aβν = .9989 ± 0.0052 (stat) ± 0.0039 (syst) [2] (But .5502(60) for 37K decay)
    So aβν ≈ 1 means beta and neutrino likely go off together
    And aβν ≈ -1 means beta and neutrino likely go off back to back
    And aβν = 0 means beta and neutrino have no inherent preference
  (scalar, vector, axial vector)
  A~ is closely related to abnu. Something like Abnu/(1+b*gamma/E) but b is probably 0 (in absence of scalar current a~ = abnu)
  Vector -> Fermi (beta and neutrino spins cancel)
  Axial -> Gamov Teller (beta and neutrino spins add)
  0+->0+ has no axial component because no nuclear spin involved (0 spin to 0 spin) which means Mgt = 0 so the axial and tensor currents don’t matter for these decays
  So we care about the vector and scalar currents cs and cv
  Standard model predicts cs=0 (no scalar currents) so Abnu = 1
  We can look for the existence of scalar currents (problem with SM) by looking for abnu not equal 1
T=2 Refers to: Total isospin. Protons have +1/2, neutrons have -1/2. So 32Ar has (18*1/2)+(14*-1/2) = 2
0 -> 0 Refers to: Nuclear spin. Protons and neutrons pair up (with themselves) so if there are an even number of both there is 0 nuclear spin. So 32Ar has 18 protons and 14 neutrons and 0 spin. 0 -> 0 means no axial currents in this particular decay (Mgt=0) which means there is likely only vector currents which is a “PURE FERMI DECAY”
+ -> + Refers to: Parity. The odd nucleons contribute parity since a closed shell has positive parity (Parity is given by (-1)^L). Need to consider the parity of neutrons and protons individually… for 32Ar neutrons have 4 extra in d = positive parity and protons have 8 extra = in s and d (but s is full) so positive parity?
We will measure the proton energy and extract aβν from the shape of the distribution
  Using silicon detectors to be placed at endcaps of the penning trap
    Trap depth is very shallow compared to energy of decay products
    However, magnetic field and bore are sufficient to fully contain (radially) all decay products for the decays we are interested in, so that they will all reach the detectors
  Ions have negligible initial energy, i.e. decays occur from rest (otherwise distribution would be smeared)

## Slide 42: Open-Geometry Cylindrical Penning Trap System for b – n Correlations
2 cylindrical traps within same Agilent 7T, 210 mm bore magnet:
Purification trap based of ISOLTRAP
A flexible measurement trap needs to be a new design:
  Large bore to contain decay products in β-ν correlation measurements
  Still suitable for precision mass measurements (harmonic, “tunable” , “orthogonalized”)
Proton of 4.28 MeV ≤ 42.7mm radius
Beta of 10 MeV ≤ ~5mm radius
Notes: Nearly all previous trap designs use the SHIPTRAP/ISOLTRAP geometry

## Slide 43: Measurement Trap
Paper Submitted to NIM A http://arxiv.org/abs/1210.8434
SIMION Precision limited to ~3x10-3
Maximum machining precision ~0.03mm
Calculated tuning (C4=0) condition: Vc/Vo = -0.371
l/r0=3.72
Expansion coefficients are compared for the
Optimized TAMUTRAP trap when tuned
Notes: Say odd terms should be 0 by symmetry
Fields from SIMION
2 = HARMONIC TERM

## Slide 44: TAMUTRAP Beam Line
Agilent 7T
210mm ASR
5 Gauss

## Slide 45: RFQ Cooler/Buncher
Up to 187V AC
RF at 20W
0.7MHz frequency
10-2-10-4mbar He
2-10 ms cooling time
ΔEf ≈ 5 eV
Δtf ≈1.2μs
Acceptance
up to 100u +
28 Segments
0-8V DC drag
Notes: Highlight how it works a little bit.
    Temperature of gas = room temperature (293 ish Kelvin)
    Energy of ions once thermalized = 0.04 eV according to E=3/2*kT
Frequency up to a few MHz (ask Praveen)
Gas pressure 10^-2 – 10^-4 mbar most likely helium at room temperature (Room temperature about .04 eV according to E=3/2*kT)
Based off a design used originally at ANL, since then here, but completely redone for our purposes (most importantly, larger)
Cooling time: 2-10ms
DeltaE: 5eV
DeltaT: 1.2 us

## Slide 46: Work in Progress

## Slide 47
Beam Diagnostics

## Slide 48
Beam Diagnostics
Initial beam (after BIGSOL) diagnostics – XY PPAC
Mass analyses system after Gas Catcher – Ortho-TOF
Position sensitive MCP detector for UHV conditions for time-of-flight measurements
Ge g-ray detector systems
Low Energy Beams (before K500)
Position sensitive proportional counter
Si dE-E detectors and scintillators
High Energy Beams (after K500)

## Slide 49: Diagnostic Stations

## Slide 50: Diagnostic Stations
g

## Slide 51: Position Sensitive Parallel-Grid Avalanche Counter 20cm x 20cm, X, Y ~ 1mm and T ~ 300ps

## Slide 52
Early spectrum obtained before extensive cleaning of the gas cell – many molecular ions !
Diagonal line –
Mass 1 = Mass 2
Off-diagonal –
Mass 1 > Mass 2
Generally lose a H2O
Mass Yields Due to Collision Induces Dissociation
D.J. Morrissey MSU NSCL 2006

## Slide 53: Ortho-TOF Mass Spectrometer
Mass Resolving Power: 104
Mass Measurement Accuracy: < 1·10-6
Overall Efficiency (Cooling, Bunching, Mass Analysis, Detection): ~ 1.. 3 %
Mass Measurement Cycle Duration: < 1 ms
W. Plaß et. al, Univ. Gießen

## Slide 54: Position Sensitive MCP Detector X, Y ~ 2mm and T ~ 200ps

## Slide 55: Position Sensitive MCP Detector For UHV

## Slide 56: Position Sensitive Proportional Counter For rates up to 106 part/sec cm2

## Slide 57: Funding for Upgrade
Funding Sources (mostly capital)
  Department of Energy – $1.8 M
  Texas A&M University – $0.75 M
  CI (SEE Line sales + redirect) – $2.483 M
  Welch Foundation – $1.0 M
  Total: $6.033 M

## Slide 58
T-REX Project Team
F. Abegglen, G. Chubarian, H. Clark, G. Derrig, G. Kim, D. May, G. Souliotis,
G. Tabacaru, R.E. Tribble
J. Arje (JYFL), G. Savard (ANL)
This project was carried out with strong support of our friends from:
ANL, USA
FLNR Dubna, Russia
Giessen University, Germany
GSI, Germany
LBNL, USA
JYFL, Finland
MSU NSCL, USA