## Slide 1: Joe (Bao-An?): “Why nuclear science was and is still so interesting to me”
Dynamics/Thermodynamics (EoS, Asy-EoS)
Spectroscopy of unbound states: multi-particle decays, cluster states
Producing a large variety of nuclear systems and study their properties…
…a well equipped laboratory
G. Verde, INFN

## Slide 2: 4π and high resolution detectors
Chimera @ LNS
NIMROD @ TAMU
FOPI @ GSI
Indra @ GANIL, GSI
Garfield @ LNL
Lassa + Miniball @ MSU
Multics @ MSU,LNL,LNS
Fazia @ LNL, LNS, GANIL

## Slide 3: Mass Dependence of caloric curves
T (MeV)
E*/A (MeV)
A=30-60
A=60-100
A=100-140
A=140-180
A=180-240
Natowitz et al., PRC65 (2002)
most cited Joe’s paper
What about N/Z dependence?
…Inspiration for one of the best experiments performed with Chimera: “Limiting”
40,48Ca +40,48Ca,40Ca,46Ti E/A = 25 MeV
I. Lombardo et al., Chimera Coll.
“…With radioactive beams it should be possible to employ caloric curve measurements to determine the critical parameters for quite asymmetric nuclei, thus testing the isospin dependence of the equation of state … and of nucleon-nucleon interaction…“ Natowitz et al., PRC65 (2002)

## Slide 4: Inspiration for “Limiting” experiment
F. Amorini et al., Phys. Rev Lett. 102 112701 (2009)
40Ca + 48Ca,40Ca,46Ti E/A = 25 MeV
M1 = Largest frament Mass
40Ca + 48Ca
(N/Z=1.2)
40Ca + 46Ti
(N/Z=1.05)
40Ca + 40Ca
(N/Z=1)
40Ca + 40Ca
40Ca + 48Ca
ΔM = (M1-M2)/MTOT
γ=1
γ=0.5
γ=1.5
model
data
HR

## Slide 5
Based on (62x64x64 mm3) clusters
1 square (0.3x62x62 mm3) DSSSD 32+32 strips
1 square (1.5x62x62 mm3) DSSSD 32+32 strips
4 60x32x32 mm3 CsI(Tl) crystals
4 CsI(Tl) crystals (3rd stage)
DSSSD 1500 μm (2nd stage)
DSSSD 300 μm (1st stage)
Assembly
cluster
132 channels by each cluster
FARCOS PROJECTS @ INFN-CATANIA
Fully reconfigurable: more Si layers,  neutron detection to come…

## Slide 6: Dynamics in compressing and heating nuclear matter
Projectile
Target
Pre-equilibrium, stopping, compression
Flow, expansion
Fragmentation
Secondary decays
Au+Au
Au+Au
Short-lived excited systems (10-23s-10-16s): need reconstruction of all reaction and space-time probes  4π detectors and correlators (angular and energy resolution)
time (fm/c)
ρ/ρ0
time (fm/c)
Temperature
QMD

## Slide 7: Space-time probes needed: Femtoscopy
p-p
Hodo56 @ NSCL
n-n
EDEN @ LNS
γ-γ
MEDEA@ GANIL
LCP-IMF
INDRA @ GANIL
IMF-IMF
Chimera @ LNS
d-α
Lassa @ NSCL
1+R(q)
0.6
1.2
q (MeV/c)
100
200
0
0
HODOCT/Aladin @ GSI
p-α
p-p
FOPI@ GSI

## Slide 8: Space-time probes of dynamics and Asy-EoS – G. Verde (INFN)
Femtoscopy with two-proton correlations
Probing the symmetry energy with NN correlations  Improving comparisons to transport models
Preliminary results from dynamically emitted protons in Xe+Au at 50 MeV/u
Status of the Farcos project @ INFN

## Slide 9: WPCF 2013: IX Workshop on Particle Correlations and Femtoscopy
Acireale (Sicily), November 5-8, 2013
Femtoscopy in Heavy-ion collisions at relativistic and intermediate energies
Spectroscopy with multi-particle correlations
N/Z effects on elliptic flow
You are all welcome!
Registration and abstract submission open until September 30th

## Slide 10: Correlation functions and femtoscopy
+ Coincidence pairs
+ Uncorrelated pairs
Deuteron-Alpha correlations
Y12 (q)
Final-state interactions
Coulomb FSI: anti-correlation at small q values
Nuclear FSI: correlation at q=42 and 84 MeV/c
High angular resolution required:
 Low q and resonances
1+R(q)
q (MeV/c)
deuteron-alpha
6Li
q (MeV/c)

## Slide 11: Imaging correlation functions
r (fm)
S(r)
4
6
8
0
0
Source function
20
40
60
80
0
100
q (MeV/c)
1+R(q)
p-p
Data
Input
Output
G. Verde et al., PRC65, 069604 (2002)
P. Danielewicz
D.A. Brown
“Size”
Integral of S(r) I = fraction of proton pairs from early dynamical emissions (NN collisions and EoS effects)
S(r) profile: probing AsyEoS and σNN in transport models

## Slide 12: HIC at Fermi energies: E/A<100 MeV
b=peripheral
PLF
TLF
Isospin diffusion & drift
Pre-equilibrium emission
Flow
Multifragmentation
b=central
b=mid-peripheral
Neck fragments
PLF
TLF
Isospin diffusion & drift

## Slide 13: Space-time probes at dynamical stage
IBUU simulations
52Ca+48Ca E/A=80 MeV Central collisions
Correlations with dynamically emitted protons and neutrons
How to perform comparisons to transport models (EoS, Asy-EoS, σNN)
Asy-stiff
Correlation functions
neutron-neutron
proton-proton
0.0
0.5
1.0
1.5
1
2
3
4
1
3
5
7
q (MeV/c)
1+R(q)
proton-neutron
Asy-soft
Lie-Wen Chen et al., PRL (2003); PRC(2005)

## Slide 14: Imaging and transport models
Ar+Sc central
e
q
G. Verde et al., Phys. Rev. C67, 034606 (2003)
Handzy, Lisa (1994)
Imaged S(r) vs BUU S(r)
BUU cannot handle properly long-lived secondary emissions…
Renormalize BUU sources using imaged S(r)
E/A=120 MeV
r (fm)
S(r) (fm-3)
Imaging Data
BUU free sNN
BUU red sNN
Models
Source shape sensitive to NN
Handzy et al., MSU

## Slide 15: pp systematics in central collisions
Source size does not charge with Ebeam: probing the dynamical stage?
Kr+Nb BUU
Ar+Sc BUU
E/A=120 MeV
100 MeV
70 MeV
E/A=150 MeV
100 MeV
BUU simulations
S(r)
S(r)
r (fm)
Imaged sources
Experimental Data

## Slide 16: Proton emissions in BUU
Can we find a measurable quantity that would allow us to isolate protons emitted at the early dynamical stage?
If yes:
 reduce contaminations by long-lived emissions
 improve comparisons to transport models: relevant to Esym(ρ) and σNN
B. Barker, NSCL PhD Thesis
early
late
Time (fm/c)
Emission rate
Time (fm/c)
Transverse Momentum
Central

## Slide 17: Protons emission time and transverse momentum
112Sn+124Sn E/A=50 MeV bred=0-0.4
time (fm/c)
dN/dt
PT/m > 0.2
PT/m > 0.3
Early
Late
Sn+Sn E/A=50 MeV bred=0-0.4
B. Barker et al.

## Slide 18: pp sources
High PT gate to reduce late emissions in BUU and isolate early dynamical emissions
 improving pp correlation comparisons and tests of AsyEoS?
PT > 0.2
No PT gate
r (fm)
S(r) (fm-3)
PT > 0.3
Early pp emitting source
PT=pT/m

## Slide 19: Experimental data (preliminary)
Xe+Au E/A=50 MeV MCP=36 (~bred<0.3)
Lassa@MSU
Proton energy spectra with pT > 0.15
pp correlations
No PT gate
PT/m > 0.2
Moving source fit: single-particle emitting source moving with v ~ vNN
E.V. Pagano
T. Minniti, G. Verde, et al., in progress
Source functions

## Slide 20: Effects of pT gates on pp correlations
Xe+Au E/A=50 MeV bred<0.3
(pT/m)min
(pT/m)min
Fraction of dynamically emitted protons (%) - fdynamical
Source function size – r1/2
r1/2 (fm)
fdynamical
Consistent with increasing importance of dynamical sources at high PT
Trend at high PT of source size need more understanding… Work in progress
Preliminary
T. Minniti, G. Verde, et al., in progress

## Slide 21
Based on (62x64x64 mm3) clusters
1 square (0.3x62x62 mm3) DSSSD 32+32 strips
1 square (1.5x62x62 mm3) DSSSD 32+32 strips
4 60x32x32 mm3 CsI(Tl) crystals
4 CsI(Tl) crystals (3rd stage)
DSSSD 1500 μm (2nd stage)
DSSSD 300 μm (1st stage)
Assembly
cluster
132 channels by each cluster
FARCOS TELESCOPE – phase 1
Fully reconfigurable (more Si layers, neutron detection, …)

## Slide 22: 4 prototype modules built
First test experiments in 2012 and 2013
March-April 2012

## Slide 23: Identification Techniques
Si
CsI(Tl)
Charge (isotopic)
DESi-ECsI
for ions stopping in CsI(Tl)
Isotopic (LCP)
Fast-Slow
for ions stopping in CsI(Tl)
Charge
ESi-RT
for ions stopping in Silicon
Mass
ESi-ToF
for ions stopping in Silicon
Superconducting Cyclotron
Reference Signal

## Slide 24: Compact preamplifiers – Phase 1
32 channels Hybrid charge preamplifiers in a volume of
about 8cm x 10cm x 2mmm
Low power consumption: ~750 mW pwe 32 channels (simplify cooling operations)
Rise-Time (pulser): ~ 3-7 nsec for Cinput=0-100pF
Energy resolution (pulser) ~ 4-5 KeV for Cinput=0-100pF
Energy resolution 1500μm (alpha source) ~0.5% for E=5.48 MeV peak
Available with several sensitivities (5, 10, 45, 100 mV/MeV…)
INFN, Milano – C. Boiano, R. Bassini

## Slide 25: CsI-response uniformity
α+Pb at E/A=62 MeV
Light response: less than 0.5% non-uniformity

## Slide 26: Silicon strips @ Labec (INFN-FI)
INFN and Politecnico of Milan and Farcos collaboration
Fast pulsed beamline DEFEL: variable and controllable number of particles/pulse
Energy changed between 1 and 6 MeV
Position resolution: 100μm x 100μm: scanning of strips and inter-strip regions
Digitalization of silicon signals with commercial VME SIS 3301
100 MHz – 14bit
8 channels/module
Opt. Link to PCI

## Slide 27: n-proton injection and resolution
Proton bunch multiplicity (deposited energy)
Resolution: 0.5% Front - 1.2% Back
Test of linearity for
Silicon+Preamplifier system
INFN and Politecnico, Milano for Farcos Collaboration

## Slide 28: Interstrip energy sharing
Front injection + Back interstrip spanning
Front injection + Back strip/interstrip spanning
Back injection + Back strip/interstrip spanning
Data analysis under way:
Study of energy sharing between neighboring strips
Collect data important for design of ASIC front-end electronics with digitalization
(Collaboration with GET project)
INFN and Politecnico, Milano

## Slide 29: First experiment with 4-telescope prototype May 2013
FAST-SLOW T4 Farcos
DE-E (300-1500 µm) T2 Farcos
E/A=35 MeV

## Slide 30: Experiments in 2014 @ LNS
CLIR: Clustering in Light Ion Reactions
16C + 12C 10Be + 6He
 12Be + 4He
16C from tagged FRIBS projectile fragmentation  120 kHz
I. Lombardo, G. Verde
FARCOS
SIKO: α-gas state in 28Si
16O + 12C 28Si  7-α
E/A=10-25 MeV
T. Kokalova, G. Verde

## Slide 31: Under study: integrate neutron detection
“Transparency” of materials and electronics boards to incoming neutrons
Secondary stages for neutron detection – under study at the moment… (????)
P
P
P
P
P
Si
…..
DSSSD1
DSSSD2
CsI(Tl)
CsI(Tl)
Electronics

## Slide 32: Neutron-proton emission chronology
Time delay between emissions Δt≠0 - Example: p emitted first
p
p
p
n
Vp > Vn
n
p
Vp < Vn
Stronger interaction
“particle catch-up”
Interaction attenuated

## Slide 33: Lednicky recipe: p-n correlations
1+R+(q)
1+R−(q)
Ratio +/-
Ratio R+/R- tells us which is emitted first
R. Lednicky et al., Phys. Lett. B373, 30 (1996)
Nuclear FSI
q (MeV/c)
q (MeV/c)
q (MeV/c)
n first +100 fm/c
n first +50 fm/c
p first -100 fm/c
p-n
p-n
p-n

## Slide 34: Conclusions
Relevance of femtoscopy and space-time probes
Understading two-proton correlations and dynamical emission stages in heavy-reaction systems
Attempts to isolate dynamical emissions by means of measurable observables: protons at high PT
First tests with Farcos and future plans